## survey
type | name | label::English | relevant | calculation | parameters | choice_filter | appearance | repeat_count | hint::English | constraint | constraint_message::English | required | required_message::English | default | read_only
dateTime | registration_date | Registration Date |  | now() |  |  |  |  | Please make sure your device Date & Time is accurate | [5 empty] | yes
start | start
end | end
deviceid | deviceid
begin group | introduction | Introduction | [6 empty] | پێشەکی
select_one company_name | company_name | Please enter the name of your company |  |  |  |  | minimal |  | تکایە ناوی کۆمپانیاکەت هەڵبژێرە |  |  | yes | Please enter a response.
select_one area | area | Please enter the area |  |  |  |  | minimal |  |  |  |  | yes | Please enter a response.
text | transformer_id | Please enter the transformer ID |  |  |  |  | minimal |  | تکایە ژمارەی محاویلە داغڵ بکە . Enter 0 if no blue badge |  |  | yes | Please enter a response.
end group
begin group | transformer | Transformer | [6 empty] | محاویلە
select_one feeder | feeder_tm | Please select the feeder of the transformer |  |  |  |  | minimal |  |  |  |  | yes | Please enter a response.
text | feeder_other_tm | Please select the feeder of the transformer | (${feeder_tm} ='other') |  |  |  | minimal |  |  |  |  | yes | Please enter a response.
geopoint | meter_location_tm | Please enter the coordinates of the transformer | [6 empty] | تکایە شوێنی (لۆکەیشن)ی محاویلەکە داغڵ بکە |  |  | yes | Please enter a response.
select_one badge_available | badge_available | Does the transformer have a blue badge? | [9 empty] | yes | Please enter a response.
image | transformer_badge_picture_tm | Please take a photo of the blue badge of the transformer | (${badge_available} ='yes') |  |  |  | minimal |  | تکایە وێنەی (پلێتی ژمارە و ناوی ) محاویلەکە بگرە |  |  | yes | Please enter a response.
select_one transformer_location | transformer_location_tm | Please select the transformer location |  |  |  |  | minimal |  | تکایە شوێنی (لۆکەیشن)ی محاویلەکە دیاری بکە |  |  | yes | Please enter a response.
select_one house_access | house_access_tm | Are you able to access the transformer? |  |  |  |  | minimal |  | ئایا دەتوانیت بچیتە ناو ماڵەکەوە؟ |  |  | yes | Please enter a response.
text | Inaccessible_comment_tm | Please enter the reason why the transformer is not accessible | (${house_access_tm} ='no') | [5 empty] | تکایە هۆکاری بەردەست نەبوونی خانووەکە بنووسە |  |  | yes | Please enter a response.
note | inaccessible_note_tm | If the transformer is inaccessible, please leave a note | (${house_access_tm} ='no') | [5 empty] | ئەگەر ماڵەکە بەردەست نەبوو تکایە نامەکە (ستیکەرەکە) هەڵواسە و وێنەێکی نامەکە (ستیکەرەکە) بگرە
image | leaflet_picture_tm | Please take a picture of the note | (${house_access_tm} ='no') |  |  |  | minimal |  | تکایە وێنەێکی نامەکە (ستیکەرەکە) بگرە |  |  | yes | Please enter a response.
integer | leaflet_ID_tm | Please leave a note and enter the note ID | (${house_access_tm} ='no') |  |  |  | minimal |  | تکایە ژمارەی کۆدەکە داغل بکە |  |  | yes | Please enter a response.
text | comment_tm_not_access | Additional comment, if any | (${house_access_tm} ='no') | [5 empty] | تێبینی، ئەگەر ئەو حاڵەتەی هەبوو
select_one segment_tm | segment_tm | Is the transformer associated to a customer directly or distribution network? | (${house_access_tm} ='yes') |  |  |  | minimal |  | ئایا محاویلەکە ڕاستەوخۆ بەستراوەتەوە بە هاوباش یان بە تۆڕی دابەشکردن؟ |  |  | yes | Please enter a response.
integer | transformer_capacity_tm | Please enter the transformer capacity (for example, if 250KVA please enter 250) | (${house_access_tm} ='yes') |  |  |  | minimal |  | تکایە توانای (KVA) محاویلەکە داغڵ بکە (بۆ نموونە ئەگەر 250KVA بێت تکایە 250 دابنێ) |  |  | yes | Please enter a response.
select_one ratio_tm | transformer_ratio_tm | Please enter the transformer ratio installed (for example, 600/5, 1600/5, etc.) | (${house_access_tm} ='yes') |  |  |  | minimal |  | تکایە ڕێژەی (CT Ratio) محاویلەکە داغڵ بکە(بۆ نموونە 600/5، 1600/5 و هتد.) |  |  | yes | Please enter a response.
text | transformer_ratio_other_tm | Please enter the transformer ratio installed (for example, 600/5, 1600/5, etc.) | (${house_access_tm} ='yes') and (${transformer_ratio_tm} ='other') | [5 empty] | تکایە ڕێژەی (CT Ratio) محاویلەکە داغڵ بکە(بۆ نموونە 600/5، 1600/5 و هتد.) |  |  | yes | Please enter a response.
select_one transformer_fuse | transformer_fuse_tm | Does the transformer have all its link fuses? | (${house_access_tm} ='yes') |  |  |  | minimal |  | ئایا محاویلەکە لینك فیوز یان فوولە؟ |  |  | yes | Please enter a response.
select_one masterswitch | masterswitch_tm | Does the transformer have a working masterwitch? | (${house_access_tm} ='yes') |  |  |  | minimal |  |  |  |  | yes | Please enter a response.
select_one transformer_pg | transformer_pg_tm | Does the installation of a meter requires private generators off? | (${house_access_tm} ='yes') |  |  |  | minimal |  | ئایا بۆ دانانی ئەم پێوەرە زیرەکە پێویستی بە کوژاندنەوەی مۆلیدەی گەڕەک هەیە؟ |  |  | yes | Please enter a response.
select_one transformer_status | transformer_status_tm | Please enter the meter status - mechanical, smart or no meter | (${house_access_tm} ='yes') |  |  |  | minimal |  | تکایە جۆری پێوەر داغڵ بکە - پێوەری (زیرەک، میکانیکی، یان هیچ جۆرە پێوەرێکی نیە) |  |  | yes | Please enter a response.
end group
begin group | transformer_mm | Transformer - Mechanical Meter | (${transformer_status_tm} ='mm') | [5 empty] | محاویلە - پێوەری میکانیکی
text | mm_ID_tm | Please enter the mechanical meter ID |  |  |  |  | minimal |  | تکایە ژمارەی پێوەری میکانیکی داغڵ بکە |  |  | yes | Please enter a response.
integer | last_reading_mm_tm | Please enter the last reading on mechanical meter |  |  |  |  | minimal |  | تکایە کۆتا خوێندنەوەی پێوەری میکانیکی داخل بکە |  |  | yes | Please enter a response.
image | mm_picture_tm | Please take a photo of the mechanical meter |  |  |  |  | minimal |  | تکایە وێنەىکی پێوەرە میکانیکیەکە بگرە |  |  | yes | Please enter a response.
text | mm_comment_tm | Additional comment, if any | [6 empty] | تێبینی، ئەگەر ئەو حاڵەتەی هەبوو
end group
begin group | transformer_sm | Transformer - Smart Meter | (${transformer_status_tm} ='sm') | [5 empty] | محاویلە - پێوەری زیرەک
select_one enclosure | enclosure_tm | Does the meter have an enclosure? |  |  |  |  | minimal |  | ئایا پێوەرەکە لە ناو بۆرددایە (ئینکڵۆژەر)؟ |  |  | yes | Please enter a response.
select_one scan_success | scan_success_encl_tm | Are you able to scan the barcode of the enclosure | ${enclosure_tm} ='yes' |  |  |  | minimal |  | ئایا دەتوانی باڕکۆدی بۆردەکە (ئینکڵۆژەر)ەکە سکان بکەی؟ |  |  | yes | Please enter a response.
barcode | bc_encl_ID_tm | Please scan the barcode for the enclosure ID | ${enclosure_tm} ='yes' and ${scan_success_encl_tm} ='yes' | [5 empty] | تکایە باڕ کۆدی بۆردەکە (ئینکڵۆژەر)ەکە یەکە سکان بکە |  |  | yes | Please enter a response.
text | manual_encl_ID_tm | Please enter the enclosure ID manually (The ID must begin with E, for example E123456) | ${enclosure_tm} ='yes' and ${scan_success_encl_tm} ='no' | [5 empty] | تکایە ژمارەی بۆردەکە (ئینکڵۆژەر)ەکە داغڵ بکە (IDەکە دەبێت بە E دەست پێبکات، بۆ نموونە E123456) | string-length(${manual_encl_ID_tm}) = 7 |  | yes | Please enter a response.
image | encl_picture_tm | Please take a photo of the outside of the enclosure (Please capture the enclosure ID) | ${enclosure_tm} ='yes' |  |  |  | minimal |  | تکایە ڕەسمێکی دەرەوەی بۆردەکە (ئینکڵۆژەر)ەکە بگرە(تکایە ژمارەی بۆرد (ئینکڵۆژەر)ەکە بگرە) |  |  | yes | Please enter a response.
text | comment_tm | Additional comment, if any | [6 empty] | تێبینی، ئەگەر ئەو حاڵەتەی هەبوو
select_one scan_success | scan_success_tm | Are you able to scan the barcode of the smart meter |  |  |  |  | minimal |  | ئایا دەتوانی باڕکۆدی پێوەرە زیرەکەکە سکان بکەی؟ |  |  | yes | Please enter a response.
barcode | bc_sm_ID_tm | Please scan the barcode for the smart meter ID (The ID must begin with EF, for example EF1234567) | ${scan_success_tm} ='yes' | [5 empty] | تکایە باڕ کۆدی پێوەرە زیرەکەکە سکان بکە (IDەکە دەبێت بە EF دەست پێبکات، بۆ نموونە EF1234567) |  |  | yes | Please enter a response.
text | manual_sm_ID_tm | Please enter the smart meter ID manually (The ID must begin with EF, for example EF1234567) | ${scan_success_tm} ='no' | [5 empty] | تکایە ژمارەی پێوەرە زیرەکەکە بە دەست داخل بکە(IDەکە دەبێت بە EF دەست پێبکات، بۆ نموونە EF1234567) | string-length(${manual_sm_ID_tm}) = 9 |  | yes | Please enter a response.
image | sm_picture_tm | Please take a photo of the smart meter |  |  |  |  | minimal |  | تکایە وێنەی پێوەری زیرەک بگرە |  |  | yes | Please enter a response.
select one meter_status_calculated_tm | meter_status_calculated_tm | Please select the meter status
end group
begin group | transformer_sm_replace | Transformer - direct installation | (${transformer_status_tm} ='sm' and ${meter_status_calculated_tm}= 'Replacement required') or (${transformer_status_tm} ='no') or (${transformer_status_tm} ='mm')
select_one direct_installation_transformer | direct_installation_transformer | Are you able to install a smart meter directly? | [9 empty] | yes | Please enter a response.
select_one ct_meter_installation | ct_meter_installation | Have you installed a new CT meter? | ${direct_installation_transformer} ='yes' | [8 empty] | yes | Please enter a response.
text | new_ct_meter_ID | Please enter the smart meter ID manually (The ID must begin with EF, for example EF1234567) | ${direct_installation_transformer} ='yes' and ${ct_meter_installation} ='yes' | [5 empty] | تکایە ژمارەی پێوەرە زیرەکەکە بە دەست داخل بکە(IDەکە دەبێت بە EF دەست پێبکات، بۆ نموونە EF1234567) | string-length(${new_ct_meter_ID}) = 9 |  | yes | Please enter a response.
image | new_ct_meter_picture | Please take a photo of the newly installed smart meter | ${direct_installation_transformer} ='yes' and ${ct_meter_installation} ='yes' | [5 empty] | تکایە وێنەێک لە پێوەری زیرەک بگرە |  |  | yes | Please enter a response.
select_one ct_enclosure_installation | ct_enclosure_installation | Have you installed a new enclosure? | ${direct_installation_transformer} ='yes' | [8 empty] | yes | Please enter a response.
text | new_ct_enclosure_ID | Please enter the new enclosure ID | ${direct_installation_transformer} ='yes' and ${ct_enclosure_installation} ='yes' | [5 empty] | تکایە ژمارەی بۆردەکە (ئینکڵۆژەر)ەکە داغڵ بکە (IDەکە دەبێت بە E دەست پێبکات، بۆ نموونە E123456) | string-length(${new_ct_enclosure_ID}) = 7 |  | yes | Please enter a response.
image | new_ct_enclosure_picture | Please take a photo of the newly installed enclosure | ${direct_installation_transformer} ='yes' and ${ct_enclosure_installation} ='yes' | [5 empty] | تکایە ڕەسمێکی دەرەوەی بۆردەکە (ئینکڵۆژەر)ەکە بگرە |  |  | yes | Please enter a response.
select_one ratio_tm | transformer_ratio | Please enter the transformer ratio installed (for example, 600/5, 1600/5, etc.) | ${direct_installation_transformer} ='yes' and ${ct_meter_installation} ='yes' |  |  |  | minimal |  | تکایە ڕێژەی (CT Ratio) محاویلەکە داغڵ بکە(بۆ نموونە 600/5، 1600/5 و هتد.) |  |  | yes | Please enter a response.
text | transformer_ratio_other | Please enter the transformer ratio installed (for example, 600/5, 1600/5, etc.) | ${direct_installation_transformer} ='yes' and ${ct_meter_installation} ='yes' and (${transformer_ratio_tm} ='other') | [5 empty] | تکایە ڕێژەی (CT Ratio) محاویلەکە داغڵ بکە(بۆ نموونە 600/5، 1600/5 و هتد.) |  |  | yes | Please enter a response.
end group
begin group | stone_fix | Transformer - transformer fixing (stone / cables) | ${meter_status_calculated_tm}= 'Fixing required'
select_one stones_fixing | stones_fixing | Have you fixed the installation of the transformer? | [9 empty] | yes | Please enter a response.
select_multiple fixing_elements | fixing_elements | What have you fixed? | ${stones_fixing} ='yes' | [8 empty] | yes | Please enter a response.
text | unsuccess_reason | Please explain why | ${stones_fixing} ='no' | [8 empty] | yes | Please enter a response.
end group

## choices
list_name | name | label::English
company_name | MoEL | MoEL
company_name | Shandz | Shandz/شاندز
company_name | BIM | BIM
registration_type | transformer | Transformer/محاویلە
registration_type | meter | Meter
house_access | yes | Yes/بەڵێ
house_access | no | No/نەخێر
segment | Agriculture | Agriculture/کشتوکاڵی
segment | Commercial | Commercial/بازرگانی
segment | Industrial | Industrial/پیشەسازی
segment | Large commercial | Large commercial/بازرگانی گەورە
segment | Residential | Residential/شوێنی نیشتەجێبوون
segment | State | State/حکومی
work_order | sr | Standalone replacement (SR)/پێوەی ڕیپلەیسمێنت
work_order | ee | Installation in existing enclosure (EE)/زیادکردن (دانانی) پێوەری زیرەك بۆ ناو بۆرد (ئینکڵۆژەر) (EE)
work_order | ne | Assembly and installation of a new enclosure (NE)/بەستن و دانانی بۆرد (ئینکڵۆژەر)ی نوێ (NE)
meter_type | single-phase | Single-phase/سینگڵ فەیز
meter_type | three-phase | Three-phase/ثری فەیز
meter_type | CT | CT/سی تی
enclosure_spots | 0 | 0
enclosure_spots | 1 | 1
enclosure_spots | 2 | 2
enclosure_spots | 3 | 3
enclosure_spots | 4 | 4
enclosure_spots | 5 | 5
enclosure_spots | 6 | 6
gateway | yes | Yes/بەڵێ
gateway | no | No/نەخێر
meter_damaged | yes | Yes/بەڵێ
meter_damaged | no | No/نەخێر
enclosure | yes | Yes/بەڵێ
enclosure | no | Standalone smart meter/پێوەی ڕیپلەیسمێنت
enclosure_damaged | yes | Yes/بەڵێ
enclosure_damaged | no | No/نەخێر
gateway_damaged | yes | Yes/بەڵێ
gateway_damaged | no | No/نەخێر
Bill_nm | yes | Yes/بەڵێ
Bill_nm | no | No/نەخێر
mechanical_meter_nma | yes | Yes/بەڵێ
mechanical_meter_nma | no | No/نەخێر
cust_bill | yes | Yes/بەڵێ
cust_bill | no | No/نەخێر
transformer_capacity | 250kv | 250KV/٢٥٠ کەی ڤی
transformer_capacity | 400kv | 400KV/٤٠٠ کەی ڤی
transformer_capacity | 1000kv | 1000KV/١٠٠٠ کەی ڤی
transformer_status | sm | Smart meter/پێوەری زیرەک
transformer_status | mm | Mechanical meter/پێوەری میکانیکی
transformer_status | no | No meter/پێوەری زیرەکی نیە
transformer_location | basement | Inside in basement/لە ژێرزەمینە
transformer_location | inside | Inside/لە ناوەوەیە
transformer_location | outside | Outside/لە دەرەوەیە
transformer_fuse | yes | Yes/بەڵێ
transformer_fuse | no | No/نەخێر
transformer_pg | yes | Yes/بەڵێ
transformer_pg | no | No/نەخێر
scan_success | yes | Yes/بەڵێ
scan_success | no | No/نەخێر
segment_tm | Agriculture | Direct to customer - Agriculture/ڕاستەوخۆ بۆ هاوبەش - کشتوکاڵ
segment_tm | Commercial | Direct to customer - Commercial/ڕاستەوخۆ بۆ هاوبەش - بازرگانی
segment_tm | Industrial | Direct to customer - Industrial/ڕاستەوخۆ بۆ هاوبەش - پیشەسازی
segment_tm | Large commercial | Direct to customer - Large commercial/ڕاستەوخۆ بۆ هاوبەش - بازرگانی گەورە
segment_tm | State | Direct to customer - State/ڕاستەوخۆ بۆ هاوبەش - ولایەت
segment_tm | Distribution | Distribution - multiple customers/دابەشکردن - چەندین هاوبەش
feeder | Erbil - Shadi - F 2 | Erbil - Shadi - F 2
feeder | Erbil - Rojawa - F 3 | Erbil - Rojawa - F 3
feeder | Erbil - Shadi - F 8 | Erbil - Shadi - F 8
feeder | Erbil - Shadi - F 9 | Erbil - Shadi - F 9
feeder | Erbil - Shadi - F 1 | Erbil - Shadi - F 1
feeder | Erbil - Shadi - F 5 | Erbil - Shadi - F 5
feeder | Erbil - Shadi - F 11 | Erbil - Shadi - F 11
feeder | Erbil - Shadi - F 12 | Erbil - Shadi - F 12
feeder | Erbil - Shadi - F 14 | Erbil - Shadi - F 14
feeder | Erbil - Shadi - F 6 | Erbil - Shadi - F 6
feeder | Erbil - Rojawa - F 1 | Erbil - Rojawa - F 1
feeder | Erbil - Ankawa - M - F 2 | Erbil - Ankawa - M - F 2
feeder | Erbil - Ankawa - M - F 3 | Erbil - Ankawa - M - F 3
feeder | Erbil - KORI - F 1 | Erbil - KORI - F 1
feeder | Erbil - KORI - F 2 | Erbil - KORI - F 2
feeder | Erbil - KORI - F 11 | Erbil - KORI - F 11
feeder | Erbil - PARK - F 1 | Erbil - PARK - F 1
feeder | Erbil - PARK - F 4 | Erbil - PARK - F 4
feeder | Erbil - PARK - F 2 | Erbil - PARK - F 2
feeder | Erbil - PARK - F 8 | Erbil - PARK - F 8
feeder | Erbil - PARK - F 12 | Erbil - PARK - F 12
feeder | Erbil - PARK - F 13 | Erbil - PARK - F 13
feeder | Erbil - PARK - F 14 | Erbil - PARK - F 14
feeder | ERBIL - NUSARAN - H 15 | ERBIL - NUSARAN - H 15
feeder | ERBIL - NUSARAN - F 17 | ERBIL - NUSARAN - F 17
feeder | ERBIL - NUSARAN - F 21 | ERBIL - NUSARAN - F 21
feeder | ERBIL - NUSARAN - F 25 | ERBIL - NUSARAN - F 25
feeder | ERBIL - NUSARAN - H 1 | ERBIL - NUSARAN - H 1
feeder | Erbil - SARBASTI - F 3 | Erbil - SARBASTI - F 3
feeder | Erbil - SARBASTI - F 6 | Erbil - SARBASTI - F 6
feeder | Erbil - SARBASTI - F 7 | Erbil - SARBASTI - F 7
feeder | Erbil - SARBASTI - F 9 | Erbil - SARBASTI - F 9
feeder | Erbil - SARBASTI - F 13 | Erbil - SARBASTI - F 13
feeder | Erbil - SARBASTI - F 14 | Erbil - SARBASTI - F 14
feeder | other | Other
ratio_tm | 50 | 50/5
ratio_tm | 100 | 100/5
ratio_tm | 150 | 150/5
ratio_tm | 200 | 200/5
ratio_tm | 300 | 300/5
ratio_tm | 400 | 400/5
ratio_tm | 500 | 500/5
ratio_tm | 600 | 600/5
ratio_tm | 800 | 800/5
ratio_tm | 1000 | 1000/5
ratio_tm | 1200 | 1200/5
ratio_tm | 1500 | 1500/5
ratio_tm | 2000 | 2000/5
ratio_tm | 2500 | 2500/5
ratio_tm | 3000 | 3000/5
ratio_tm | other | other
direct_installation_transformer | yes | Yes/بەڵێ
direct_installation_transformer | no | No/نەخێر
badge_available | yes | Yes/بەڵێ
badge_available | no | No/نەخێر
cluster_type | pole | Pole
cluster_type | electrical_board | Electrical board
cluster_type | wall_mounted_enclosure | Wall-mounted enclosure
cluster_accessibility | yes | Yes/بەڵێ
cluster_accessibility | no | No/نەخێر
non_smart_phase | single-phase | Single-phase/سینگڵ فەیز
non_smart_phase | three-phase | Three-phase/ثری فەیز
work_order_required | EE | Installation in existing enclosure (EE)/زیادکردن (دانانی) پێوەری زیرەك بۆ ناو بۆرد (ئینکڵۆژەر) (EE)
work_order_required | NE | Assembly and installation of a new enclosure (NE)/بەستن و دانانی بۆرد (ئینکڵۆژەر)ی نوێ (NE)
work_order_required | SR | Standalone replacement (SR)/پێوەی ڕیپلەیسمێنت
installation_possible | yes | Yes/بەڵێ
installation_possible | no | No/نەخێر
gateway_present | yes | Yes/بەڵێ
gateway_present | no | No/نەخێر
successful_replacement | yes | Yes/بەڵێ
successful_replacement | no | No/نەخێر
stones_fixing | yes | Yes/بەڵێ
stones_fixing | no | No/نەخێر
ct_meter_installation | yes | Yes/بەڵێ
ct_meter_installation | no | No/نەخێر
ct_enclosure_installation | yes | Yes/بەڵێ
ct_enclosure_installation | no | No/نەخێر
mm_connection | yes | Yes/بەڵێ
mm_connection | no | No/نەخێر
gateway_installation | yes | Yes/بەڵێ
gateway_installation | no | No/نەخێر
masterswitch | yes | Yes/بەڵێ
masterswitch | no | No/نەخێر
fixing_elements | stone | Stones
fixing_elements | link_fuse | Link fuses
fixing_elements | masterswitch | Masterswitch
fixing_elements | cable | Cables
mm_source | single_source | Single source meter
mm_source | dual_source | Dual source meter
area | shadi1 | Shadi 1
area | shadi2 | Shadi 2
area | naznaz | Naz Naz
area | waziran | Waziran / Bakhtiari
area | sarbasti | Sarbasti / Park
meter_status_calculated_tm | Replacement required | Replacement required
meter_status_calculated_tm | Fixing required | Fixing required
meter_status_calculated_tm | Working | Working
enclosure_meter_status_calculated_tm | Faulty | Faulty
enclosure_meter_status_calculated_tm | Not Faulty | Not Faulty
stand_meter_status_calculated_tm | Faulty | Faulty
stand_meter_status_calculated_tm | Not Faulty | Not Faulty

## settings
form_title | form_id | default_language
Investigations_Field_Survey | investigations_field_survey | English
| Erbil - Ankawa - M - F 3 | Erbil - Ankawa - M - F 3